1. Health and safety in building services engineering

# Worksheet 7: Safe isolation of electrical supplies (tutor)

Research the safe isolation of electrical supplies using the following links:

Electricity at work: Safe working practices HSG85 (hse.gov.uk)

Best Practice Guide 2 (electricalsafetyfirst.org.uk)

Now place the following in the correct order in the flow chart.

Prove circuit or equipment dead

Identify the circuit or equipment to be worked on

DEAD WORKING = SAFE

Issue permit to work where necessary

Cut off supply, isolate and secure isolation

Retain keys. Post ‘CAUTION’ and ‘DANGER’ notices

Apply circuit main earth(s) where necessary

Apply local earths where necessary

Take precautions against nearby live parts