## Slide 1: PowerPoint 7: Quality management
11. Construction commercial/business principles
11.8 Quality management

## Slide 2: Quality management
It is essential in modern construction practices to incorporate quality management principles and initiatives.
Contractors and individuals should self-assess the quality of their workmanship to ensure it is of a high standard.
However, organisations should ensure quality management is part of their business measurement.
Quality management systems such as the ISO 9000 series of standards require ongoing monitoring of quality and have a focus on continuous improvement and learning.

## Slide 3: Audits
PowerPoint presentation
Checklists are used within many audits to undertake confirmation of quality installations. These are called snagging or defects lists in construction. They are used to:
check all internal/external finishes are compliant
inform various trades that they have items to address
assist with services commissioning.
When complete, a making good defects certification can be made.

## Slide 4: Quality control
PowerPoint presentation
The control of quality is important during the construction phase of a project.
This includes:
Inspections required by building control in accordance with the building regulations before work is covered up.
Inspections by manufacturers to confirm warranties.
Inspections of work before it is covered up to ensure integrity, e.g. damp proof membranes.
Inspection by the client’s representative for approval, e.g. clerk of works or architect.

## Slide 5: Quality improvement
PowerPoint presentation
Improvements in quality are essential to ensure that all stakeholders’ outcomes are fully met.
Quality improvement ensures that:
defects are kept to an acceptable level
customer complaints are reduced
feedback is fed into the specification and procurement processes
design faults can be corrected and advised
a continual live process is in place which is reactive
ISO standards are maintained.

## Slide 6: ISO 9000 standards
PowerPoint presentation
ISO 9000 series is a set of standards that promote the quality of an organisation in terms of its administration.
The seven key areas that ISO 9000 covers are:
QMP 1 – Customer focus
QMP 2 – Leadership
QMP 3 – Engagement of people
QMP 4 – Process approach
QMP 5 – Improvement
QMP 6 – Evidence-based decision making
QMP 7 – Relationship management
ISO 9000 standards require the whole organisation to work with quality management at the heart of the business, and a long-term commitment to review quality management routinely.
Notes: https://en.wikipedia.org/wiki/ISO_9000#ISO_9000_series_Quality_Management_Principles

## Slide 7: ISO 9000
Customer focus: Understand customer needs, meet customer requirements and strive to exceed expectations.
Leadership: Establish the common purpose of the business and create a working environment in which people can participate in achieving objectives.
Engagement of people: Everyone in the organisation should be able to use their abilities for the organisation's benefit.
Process approach: Outcomes are achieved more efficiently when activities and resources are managed as a process.
Improvement: The organisation should always be focused on improving performance.
Evidence-based decision making: Decisions are based on the analysis of data and information.
Relationship management: Collaboration between an organisation and its suppliers, contractors and service providers is mutually beneficial and adds value.
Notes: See: ISO - ISO 9000 family — Quality management

## Slide 8
Any questions?