12. Building services engineering (BSE) systems

# Worksheet 1: Air conditioning components (learner)

Complete the table below by matching the description to the AC component listed:

cooling coil, recirculation duct, preheater battery, supply fan, reheater battery

|  | In the winter cycle fresh air is heated to 7ºC preventing the filters from freezing. |
| --- | --- |
|  | The duty of this fan is slightly greater than that of the return air fan which gives a positive air pressure in the room. |
|  | Up to 25% of room air can be mixed with the fresh air, utilising already conditioned air. |
|  | The air is heated to the supply air temperature (34ºC) for comfort and to compensate for heat loss throughout the building. |
|  | Cooled by either chilled water or refrigerant gas. Moisture is removed from the air by dehumidification. |

Use this list to label the diagram below:

preheater battery, supply fan, cooling coil, fresh air inlet, reheater battery, exhaust air outlet, recirculation duct, supply air, return air, return air fan