# 13. Maintenance principles

# Worksheet 6: Landlords gas safety (tutor)

Visit INDG285 Landlords (hse.gov.uk) and answer the following questions.

- What are the four main responsibilities of landlords as regards gas safety?

- Gas fittings and flues must be maintained in a safe condition. Gas appliances should be serviced according to the manufacturer’s instructions. At minimum, appliances must be serviced annually unless advised otherwise by a Gas Safe registered engineer.

- Ensure an annual safety check is carried out on each gas appliance/flue. Before any new lease starts, make sure checks have been carried out within a year before the start of the lease date. If the appliances in the property were installed less than 12 months ago, they should be checked within 12 months of the installation date.

- Keep a record of the gas safety check until two further checks have been carried out (may be longer than 2 years).

- Issue a copy of the latest safety check to existing tenants within 28 days of the check, or to any new tenant before they move in (in certain cases there is an option to display the record).

- What gas equipment is covered?

- The safety check and maintenance requirements generally apply to any gas appliance or flue installed in the ‘relevant premises’.

- What are the consequences if landlords do not maintain their tenants’ gas appliances?

- May result in loss of life. Landlords risk being prosecuted, which could result in imprisonment or a fine of up to £20 000, or both, for each offence.