13. Maintenance principles

# Multiple choice questions (tutor)

When a company schedules the routine maintenance of the building services within an office block, this is called

- Planned protection maintenance

- Planned preventative maintenance

- Personal protective maintenance

- Personal protection and maintenance

If a plumber is called out to a burst pipe, this is called

- Prepared maintenance

- Proactive maintenance

- Scheduled maintenance

- Reactive maintenance

On which BSE system would PPM include the checking of a float operated valve?

- Electrical

- Communications

- Plumbing

- Air conditioning

Which BSE system must be checked every 12 months to ensure safe operation in tenanted properties?

- Gas

- Communications

- Plumbing

- Air conditioning

What documentation will best provide you with guidance when carrying out servicing and maintenance on BSE system components?

- BS 5440

- On-site guide

- Book of relevant regulations

- Manufacturer’s instructions

On which BSE system would PPM include the testing of a miniature circuit breaker (MCB)?

- Electrical

- Communications

- Plumbing

- Air conditioning

Which BSE system would you be working on if you were checking for trap seal loss as part of a PPM schedule?

- Above-ground drainage

- Heating

- Air conditioning

- Ventilation

Which valve would isolate both hot and cold supplies in a domestic property for maintenance purposes?

- Main isolation valve

- Superior stop valve

- Major isolation valve

- Main stop valve

In which BSE system would PPM include the testing of a router?

- Electrical

- Communications

- Plumbing and heating

- Air conditioning

Which BSE system would you be working on if you were required to use a spray to check the component is working correctly as part of the PPM schedule?

- Communications

- Electrical

- Fire detection

- Ventilation

What piece of documentation requires completion as part of the maintenance schedule?

- Maintenance checklist

- Maintenance schedule

- Maintenance detail

- Maintenance directory

The frequency of PPM is detailed in the maintenance

- programme

- timetable

- schedule

- calendar

What negative effect can occur if a fault cannot be rectified at the time of a call out to a BSE system?

- Loss of hearing

- Loss of income

- Increase in income

- Increase in reputation

If you are unable to repair a BSE system as part of reactive maintenance until the next day, what should you try to do?

- Provide back-up services until the repair is made

- Pay for a hotel room for the customer until the repair is made

- Give the customer money off the repair bill

- Offer to repair the system for free

If a customer calls you and reports a smell of gas, where should you tell them to turn off the gas?

- HGV

- IQA

- GAD

- ECV