## Slide 1: PowerPoint 7: Energy production and energy use
PowerPoint presentation
5.9 Energy production and energy use

## Slide 2: Benefits of using renewable energy
It reduces the dependence on non-renewable energy.
It helps to keep the air clean.
It helps to reduce the production of carbon dioxide and other greenhouse gases.
It makes use of secure, local resources.
It reduces air pollution.
It create new jobs in renewable energy industries.
It saves and can even earn money.

## Slide 3: Wind
Wind energy provides mechanical power by means of wind turbines which enable electric generators to produce electrical power. Wind turbines use blades that are shaped like aircraft wings to harness the wind’s energy.
Around 40% of Europe’s wind energy blows over the UK, which makes our climate ideal for turbines. The use of wind turbines for domestic purposes is increasing and systems can be mounted on poles or on buildings.
Wind turbines are a popular sustainable, renewable energy system that has a much smaller impact on the environment than burning fossil fuels.

## Slide 4: Wind
Advantages
Disadvantages
Benefits from the Government’s feed-in tariff.
Protected against rising energy costs.
Wind is free and renewable.
Once manufactured and installed, turbines do not produce greenhouse gases or pollution.
Wind strength can vary, which means that the amount of energy produced may not be consistent.
Turbines can be noisy and cause vibration if pole mounted on a building.
Pollution is caused during the manufacturing of components.

## Slide 5: Water
Flowing water can be captured and turned into hydroelectric power or hydropower. Turbines and generators convert the energy of the moving water into electricity, which is fed into the National Grid to be used in homes, factories, businesses etc.
Small hydroelectric power stations can produce enough electricity for lighting and appliances in a domestic dwelling. They produce more electricity when rainfall is greater.
Running water, which can be a small stream or large river, is required for this process. This is a limitation, so the production of hydroelectricity is very dependant on the location.

## Slide 6: Ground source heat pumps (GSHPs)
Heat pumps extract heat from the ground. They use it to pre-heat water for space and water heating, so reducing the amount of gas, oil or electricity consumed. The UK has a consistent ground temperature of around 10 degrees Celsius, which is very suitable for GSHP systems.
Heat pumps have some impact on the environment as they need electricity to run, but the heat they extract from the ground, the air or water is constantly being renewed naturally.

## Slide 7: Ground source heat pumps
Advantages
Disadvantages
GSHPs are expensive to install.
If the system is poorly designed issues are likely to occur.
They are a renewable energy source.
They have low running costs
They are a low carbon form of heating.
They are eligible for government incentives
Efficiency can be affected by soil type.

## Slide 8: Air source heat pumps (ASHPs)
An alternative to a ground source heat pump is an air source heat pump (ASHP). It works in a similar way.
Instead of absorbing heat from the ground, an ASHP absorbs heat from the outside air which is ingested into the system through a pump. This is then used to heat the home and produce hot water.

## Slide 9: Nuclear energy
Nuclear energy originates from the splitting of uranium atoms – in a process called fission. This generates heat to produce steam, which is used by a turbine generator to generate electricity. Because nuclear power plants do not burn fuel that contains carbon, they do not produce greenhouse gas emissions

## Slide 10: Nuclear energy
Hinkley C
Hinkley Point C is the first new nuclear power plant to be built in the UK in over 20 years. The development will make a massive contribution to the UKs move towards reduction in carbon emissions.
The electricity generated by its two EPR reactors will offset 9 million tonnes of carbon dioxide emissions a year, or 600 million tonnes over its 60-year lifespan.
Nuclear power plants create low carbon electricity. Nuclear power is the most cost effective large scale low carbon energy source in the UK.

## Slide 11: Nuclear energy
Advantages
Disadvantages
It does not produce any polluting gases.
It does not contribute to global warming.
The waste is radioactive and specialist disposal is costly.
It has low fuel costs.
Large scale accidents can be catastrophic.
It has high construction and commissioning costs.
The low quantity of fuel required reduces the effects of mining and transportation on the environment.

## Slide 12: Combined heat and power (CHP)
This technology generates heat and electricity simultaneously, from the same energy source, in homes or buildings.

## Slide 13: Solar PV
Photovoltaic (PV) cells are made from layers of semiconducting material, usually silicon. When light shines on the cells it creates an electric field across the layers. The stronger the sunshine, the more electricity is produced.
Solar PV systems are a highly popular renewable system for a variety of contexts.
Most PV systems are made up of panels that fit on top of an existing roof, but you can also fit solar tiles.

## Slide 14: Solar PV

## Slide 15: Solar PV
Advantages
Disadvantages
This benefits from the Government’s feed-in tariff.
Panels designed for European climates generate electricity even on cloudy days.
The panels require little maintenance.
Solar energy is free, so this protects against rising energy costs.
The panels degrade over time (the lifespan is usually around 25 years).
A large surface area is required for installation.
The initial installation costs can be high.

## Slide 16: Fossil fuels
Fossil fuel power plants burn coal to produce heat which is then used to generate steam to drive turbines which generate electricity.
Now consider the Drax power station case study.
Burning fossil fuels creates carbon dioxide which contributes to the greenhouse effect which is causing global temperatures to rise. Fossil fuels cannot be replenished, so we are now focusing on renewable sources of energy.

## Slide 17: Fossil fuels
Advantages
Disadvantages
They are a cheap source of energy
The energy they produce is reliable.
They are non-renewable.
They are dangerous to produce.
They produce smog and air pollution.
They contribute to global warming.
They produce acid rain.
They can be stored and transported easily.

## Slide 18: Hydrogen
Hydrogen is a clean fuel that, when consumed in a fuel cell, produces only water as a by-product.
These qualities make it an attractive option for transport and power generation, and it is being looked at closely as a future clean fuel.
It can be used in cars, in houses, for portable power, and in many more applications.
It is envisaged that it could provide combined heat and power (CHP) for homes and businesses, either via centralised/distributed energy or through ‘microgeneration’ of electricity (and heat) on site.

## Slide 19: Producing hydrogen – reforming methane
Hydrogen can be produced from natural gas, nuclear power, biomass and renewable power such as solar and wind.
Today, hydrogen fuel is most often produced through natural gas (methane) reforming, which is a thermal process. At present, hydrogen is produced mainly from fossil fuels (non-renewables). This method is currently the cheapest source of industrial hydrogen.
The downside to this process is that its by-products are CO2, CO and other greenhouse gases. Producing one tonne of hydrogen could produce as much as 9 to 12 tonnes of CO2 .To reduce carbon emissions, the process should include CO2 capture and sequestration, which is a way of extracting carbon dioxide and then storing it, typically underground, in order to reduce emission of the greenhouse gas into the atmosphere.
Notes: HSE: Current issues - Hydrogen economy - Horizon scanning

## Slide 20: Producing hydrogen – electrolysis and biomass
Electrolysis could be a carbon-free hydrogen production process, from renewable and nuclear resources. This currently accounts for approximately 4% of global hydrogen production.
Electrolysis is the process of using electricity to split the water molecule H2O into its components: oxygen and hydrogen. This reaction takes place in a unit called an electrolyser. Although cleaner, and producing no CO2, this process can use a lot of energy, which makes it costly. In addition, the energy used might not always be from renewable sources.
Hydrogen can also be produced using biomass gasification. Biomass is plant or animal material used as fuel (e.g. farm waste). This could be a less energy intensive option, and a wide variety of waste could be used to produce hydrogen, making it a sustainable alternative to the other processes.

## Slide 21
Any questions?