5. Sustainability principles

# Worksheet 21: Digital technologies recap (learner)

- List the building services that can be controlled through a building automation system.

- Explain what hubs/routers are used for in a domestic property.

- Explain the main purpose of movement sensors in lighting systems.

- Describe the two main elements of a smart meter.

- State the purpose of a display screen on a smart meter.

- Explain what is meant by the term Internet of Things (IoT).

- Explain the benefits of using the Internet of Things for resource management.

- State three potential disadvantages of the Internet of Things in construction.