6. Construction measurement principles

# Worksheet 4: Scales (i) (tutor)

The following have been drawn according to certain scales. Using a standard ruler, ascertain the measurements.

Question 1

1:25

Determine the true measurements of sides A and B

Tutor answers

Worksheet printed @ A4

A = 165mm		165 x 25 = 4125mm or 412.5cm or 4.125m

B = 150mm		150 x 25 = 3750mm or 375cm or 3.75m

### Question 2

Determine the lengths of sides A and B as they would relate in real life

Tutor answers

Worksheet printed @ A4

A = 65mm (measurement to inside of wall as shown)

65 x 50 = 3250mm or 325cm or 3.25m

B = 151mm (measurements to outside of walls)

151 x 25 = 7550mm or 755cm or 7.75m

### Question 3

Convert the lengths A and B into metres

Tutor answers

Worksheet printed @ A4

A = 53mm			53 x 1250 = 66250mm or 6625cm or 66.25m

B = 150mm			137 x 1250 = 171250mm or 17125cm or 171.25m

### Question 4

Convert the lengths A and B into metres

Tutor answers

Worksheet printed @ A4

A = 45mm		45 x 150 = 6750mm or 675cm or 6.75m

B = 21mm		21 x 150 = 3150mm or 315cm or 3.15m