8. Electrical and electronic principles

# Worksheet 4: Expand your knowledge (learner)

Use your existing knowledge and conduct research as required to answer the following questions.

- Give reasons why you should never measure high currents with a multimeter. How can high currents be measured?

- Which instrument measures the insulation between a conductor and an earth?

- Give two examples of substances that can be used to make capacitors.

- A battery can supply a DC current. What is the difference between primary cell batteries and secondary cell batteries?

- How would you check a fuse with a multimeter?