8. Electrical and electronic principles

# Worksheet 8: AC circuits (learner)

- If a circuit has a supply of 200Hz, the time period would be:

- 10ms

- 5ms

- 15ms

- 20ms

- If a circuit is purely resistive, which two of the following statements are true?

- Voltage and current are out of phase

- Voltage and current reach their peak values at the same time

- Voltage and current are in phase

- Voltage and current are anti-phase

- In a capacitive circuit, which two of the following statements are true?

- Current lags the voltage

- Current leads the voltage

- Voltage lags the current

- Voltage leads the current

- Which of the following phasor diagrams represents an inductive circuit?

- V

I

- I

V

- V

I

I

V

V

The waveforms shown are which two circuits?

I

Leading circuit

- Lagging circuit

- Inductive circuit

- Capacitive circuit

V

I

- The waveforms shown are which two circuits?

- Lagging circuit

- In phase circuit

- Capacitive circuit

- Leading circuit

- A coil has an inductive reactance of 25Ω at 50Hz. What is the inductance?

- 75.64mH

- 64.78mH

- 81.42mH

- 79.58mH

- A capacitor has a capacitive reactance of 25Ω at 100Hz. What is the capacitive value?

- 63.66uF

- 127.32uF

- 100uF

- 74.66uF

- A circuit has a supply voltage of 240V and an impedance of 65Ω. What is the current flow?

- 3.51A

- 3.69A

- 3.75A

- 3.45A

- A series circuit has an inductive reactance of 30Ω, a capacitive reactance of 25Ω and a resistance of 10Ω. What is the impedance?

- 11.18Ω

- 11.72Ω

- 11.62Ω

- 11.84Ω

- A series circuit has a XL = 40Ω and a XC = 45Ω. Is the circuit:

- Lagging

- In phase

- Need more information to determine

- Leading

VL = 100V

- In the phasor diagram shown, calculate the 
supply voltage and indicate its position on the drawing.

- 160V

VR = 25V

142V

- 155V

- 152V

VC = 250V