## Slide 1: PowerPoint 4: Output blocks
PowerPoint presentation
Engineering and manufacturing control systems
10.1 Principles and applications of control system theory

## Slide 2: Objectives
By the end of this session, learners should be able to:
explain what output blocks are and how they are shown in systems diagrams.

## Slide 3: Outputs
Control systems consist of different input, process and output blocks.
  Outputs take an electrical or electronic signal and turn it back into a signal from the real-world environment.
  Electrical and electronic signals include voltage/potential difference, current, resistance and logic state.
  Real world signals include light level, temperature, pressure, flow, sound and movement.
  What devices can you think of that act as outputs in control systems? What are their applications?
Notes: Devices for discussion could include various types of light outputs (lamps, LEDs), sound outputs (buzzers, sounders, speakers) and outputs that produce movement (motors, solenoids). Applications could include security systems, automated lighting systems, temperature control and pressure control systems.

## Slide 4: Outputs in block diagrams
Outputs are generally shown on the right-hand side of a block diagram, after the process and/or input blocks.
  The arrows represent the signals flowing in and out of the block, whereas the block represents the output function or device itself.
Output
Real-world signal
Electrical
signal

## Slide 5
Any questions?
‘T-LEVELS’ is a registered trade mark of the Department for Education. ‘T Level’ is a registered trade mark of the Institute for Apprenticeships and Technical Education.